## Slide 1: Electron PID & trigger using EMCal
Shingo Sakai (Univ. of Tsukuba)

## Slide 2: ALICE-EMCal
Consist two Calorimeters
  EMCal
    |y|<0.7, Δφ ~110
  DCal
    Δφ ~60
    Opposite side of EMCal
Lead-Scintillator sampling Calorimeter
  Measure energy of particles
Physics interesting
  Photon
  Electrons
  Jets (dijet)

## Slide 3: Electron identification
Electron identification
  First select electron candidates with dE/dx in TPC
  Check matching energy in EMCal and momentum (p)
  Electrons deposit all energy in EMCal : E/p~1

## Slide 4: E/p for electrons and hadrons
Electrons
  Deposit most of energy in EMCal : E/p~1
Hadrons
  Usually deposit MIP ~260 MeV in EMCal : E/p~ 0.26/p ~ 0.2

## Slide 5: Shower shape

## Slide 6: Shower shape (MC)
Shower shape
  Electrons : narrower
  Hadrons : broader
Additional rejection between electrons and hadrons

## Slide 7: E/p with/without shower shape
E/p with/without shower shape cut
Shower shape cut is a powerful cut at high pT electron identification

## Slide 8: Hadron contamination
An example of hadron contamination
  In PbPb collisions (most central)
Control the contamination ~10% up to 25 GeV/c
  TPC dE/dx, E/p and shower shape cuts

## Slide 9: E/p in very high pT
In pp collisions (13 TeV)
  Clear electron signal up to 50 GeV/c in E/p distribution

## Slide 10: Trigger
Collisions rate : ~Order of 100 kHz
MB trigger in ALICE
  Limited the trigger rate <~1000 Hz due to mainly TPC read out
  Can’t take all the data from collisions
  Suffer the statistics at high pT
Trigger
  Put a threshold to reduce trigger to take event (data)
  An example : threshold 10 GeV
    Probability have>10 GeV particle 10-4
    ~100 kHz x 10-4 ~ 10 Hz << 1000 Hz
    Possible take all events there there are particles deposit energy above 10 GeV

## Slide 11: L0 & L1 trigger
EMCal trigger
  High energy single shower trigger
    Photon, electrons
    4x4 (L0 & L1)
  Jet trigger (L1)
Sum energies (ADC) in trigger patch
L1 : generally there are two trigger thresholds (lower and higher)

## Slide 12: Electrons in trigger
In MB trigger, there are ~20 electrons in 14 GeV/c
In EMCal trigger, there are ~100 electrons in 14 GeV/c
Trigger is efficient to measure high pT electrons

## Slide 13: Efficiency of the EMCal trigger
Trigger efficiency
  L0 trigger
Efficiency ~1
  Most events above
  threshold took trigger
  by EMCal

## Slide 14: Trigger performance in PbPb for electrons
Trigger performance for electrons in PbPb collisions
  Above threshold, the ratio (trigger/MB) is constant
  Trigger is efficient for high pT electron measurement

## Slide 15: HFE in pp at 13 TeV
HFE in MB : pT reache up to ~ 6 GeV/c
HFE in EMCal trigger : pT reach up to 50 GeV/c

## Slide 16: J/Ψ in pp at 13 TeV
Clear J/Ψ peak above 10 GeV/c in EMCal
  With electron identification with EMCal

## Slide 17: HFE in PbPb collision at 5.02 TeV
HFE in MB : up to ~10 GeV/c
HFE in trigger : up to 26 GeV/c with good statisitcs